## Sheet1
| Salinometer data for the FS2022 cruise | [14 empty] | ENTER MANUALLY, ONE VALUE PER SHEET: S_median - S_ref for STD bottles (consider both start/end!)
| Digitised from log sheets by Øyvind F on 16.09.25 | [12 empty] | Median of all sample readings | STD of all readings (double check if >0.002 )
Parsing aided by AI OCR tools, visually checked/corrected. Errors could still be present.
Write any useful notes here! Parsing of data begins below the START line.
Salinometer readings - enter from hand-written sheets
START | Contextual information | [6 empty] | Sample no | Auto-flagged Suspicous values will show up as red
| Date | Analyst | Air temp | Bath temp | Ref. Salinity | K15 | Salinometer | Sample | S1 | S2 | S3 | S4 | S5 | S_median | S_STD | S_offset | S_final | Note
| 17.01.2023 | Paul D | 24.4 | 24 | 34.994 | 0,99986 | 70177 | STD | 35.002 | 35 | 35.001 | 35.001 | 35 | 35.001 | 0.00074833 | 0.007 | 34.994
[8 empty] | 1 | 34.932 | 34.932 | 34.932 |  |  | 34.932 | 0 | 0.007 | 34.925
[8 empty] | 2 | 34.983 | 34.984 | 34.985 | 34.985 | 34.985 | 34.985 | 0.0008 | 0.007 | 34.978
[8 empty] | 3 | 34.982 | 34.981 | 34.981 | 34.981 |  | 34.981 | 0.00043301 | 0.007 | 34.974
[8 empty] | 4 | 35.007 | 35.007 | 35.007 |  |  | 35.007 | 0 | 0.007 | 35
[8 empty] | 5 | 35.026 | 35.026 | 35.026 |  |  | 35.026 | 0 | 0.007 | 35.019
[8 empty] | 6 | 35.034 | 35.034 | 35.034 |  |  | 35.034 | 0 | 0.007 | 35.027
[8 empty] | 7 | 34.96 | 34.96 | 34.96 |  |  | 34.96 | 0 | 0.007 | 34.953
[8 empty] | 8 | 34.745 | 34.745 | 34.745 |  |  | 34.745 | 0 | 0.007 | 34.738
[8 empty] | 9 | 34.918 | 34.918 | 34.917 | 34.918 | 34.918 | 34.918 | 0.0004 | 0.007 | 34.911
[8 empty] | 10 | 34.526 | 34.526 | 34.526 |  |  | 34.526 | 0 | 0.007 | 34.519
[8 empty] | 11 | 33.706 | 33.706 | 33.706 |  |  | 33.706 | 0 | 0.007 | 33.699
[8 empty] | 12 | 34.927 | 34.928 | 34.928 | 34.928 |  | 34.928 | 0.00043301 | 0.007 | 34.921
[8 empty] | 13 | 34.915 | 34.916 | 34.916 |  |  | 34.916 | 0.0004714 | 0.007 | 34.909
[8 empty] | 14 | 34.947 | 34.947 | 34.947 |  |  | 34.947 | 0 | 0.007 | 34.94
[8 empty] | 15 | 34.998 | 34.998 | 34.998 |  |  | 34.998 | 0 | 0.007 | 34.991
[8 empty] | 16 | 35.002 | 35.002 | 35.002 |  |  | 35.002 | 0 | 0.007 | 34.995
[8 empty] | 17 | 34.383 | 34.383 | 34.383 |  |  | 34.383 | 0 | 0.007 | 34.376
[8 empty] | 18 | 35.015 | 35.015 | 35.015 |  |  | 35.015 | 0 | 0.007 | 35.008
[8 empty] | 19 | 34.866 | 34.867 | 34.866 | 34.866 | 34.867 | 34.866 | 0.0004899 | 0.007 | 34.859
[8 empty] | 20 | 34.986 | 34.986 | 34.987 | 34.987 | 34.987 | 34.987 | 0.0004899 | 0.007 | 34.98
[8 empty] | 21 | 34.668 | 34.668 | 34.668 |  |  | 34.668 | 0 | 0.007 | 34.661
[8 empty] | 22 | 34.215 | 34.215 | 34.215 |  |  | 34.215 | 0 | 0.007 | 34.208
[8 empty] | 23 | 32.795 | 32.795 | 32.795 |  |  | 32.795 | 0 | 0.007 | 32.788
[8 empty] | 24 | 34.931 | 34.931 | 34.93 | 34.931 | 34.931 | 34.931 | 0.0004 | 0.007 | 34.924
[8 empty] | STD | 35.001 | 35.001 | 35.001 | 35.001 | 35.001 | 35.001 | 0 | 0.007 | 34.994
| 19.01.2023 | Marcel | 24 | 25 | 34.994 | 0.99986 | 70177 | STD | 34.99 | 34.99 | 34.99 |  |  | 34.99 | 0 | -0.004 | 34.994
[8 empty] | 25 | 34.887 | 34.887 | 34.887 |  |  | 34.887 | 0 | -0.004 | 34.891
[8 empty] | 26 | 34.986 | 34.986 | 34.986 |  |  | 34.986 | 0 | -0.004 | 34.99
[8 empty] | 27 | 34.977 | 34.978 | 34.977 | 34.977 | 34.978 | 34.977 | 0.0004899 | -0.004 | 34.981
[8 empty] | 28 | 34.958 | 34.958 | 34.959 | 34.958 |  | 34.958 | 0.00043301 | -0.004 | 34.962
[8 empty] | 29 | 34.778 | 34.779 | 34.779 | 34.778 | 34.778 | 34.778 | 0.0004899 | -0.004 | 34.782
[8 empty] | 30 | 34.64 | 34.64 | 34.64 |  |  | 34.64 | 0 | -0.004 | 34.644
[8 empty] | 31 | 34.419 | 34.419 | 34.419 |  |  | 34.419 | 0 | -0.004 | 34.423
[8 empty] | 32 | 34.372 | 34.372 | 34.372 |  |  | 34.372 | 0 | -0.004 | 34.376
[8 empty] | 33 | 33.932 | 33.931 | 33.932 | 33.932 | 33.932 | 33.932 | 0.0004 | -0.004 | 33.936
[8 empty] | 34 | 33.358 | 33.358 | 33.358 |  |  | 33.358 | 0 | -0.004 | 33.362
[8 empty] | 35 | 34.922 | 34.922 | 34.922 |  |  | 34.922 | 0 | -0.004 | 34.926
[8 empty] | 36 | 34.906 | 34.906 | 34.906 |  |  | 34.906 | 0 | -0.004 | 34.91
[8 empty] | 37 | 34.903 | 34.903 | 34.903 |  |  | 34.903 | 0 | -0.004 | 34.907
[8 empty] | 38 | 34.966 | 34.966 | 34.966 |  |  | 34.966 | 0 | -0.004 | 34.97
[8 empty] | 39 | 34.965 | 34.965 | 34.965 |  |  | 34.965 | 0 | -0.004 | 34.969
[8 empty] | 40 | 34.947 | 34.947 | 34.947 |  |  | 34.947 | 0 | -0.004 | 34.951
[8 empty] | 41 | 34.719 | 34.72 | 34.719 | 34.719 | 34.719 | 34.719 | 0.0004 | -0.004 | 34.723
[8 empty] | 42 | 34.656 | 34.656 | 34.656 |  |  | 34.656 | 0 | -0.004 | 34.66
[8 empty] | 43 | 34.334 | 34.334 | 34.335 | 34.334 | 34.334 | 34.334 | 0.0004 | -0.004 | 34.338
[8 empty] | 44 | 34.148 | 34.149 | 34.149 | 34.149 | 34.149 | 34.149 | 0.0004 | -0.004 | 34.153
[8 empty] | 45 | 32.601 | 32.601 | 32.601 |  |  | 32.601 | 0 | -0.004 | 32.605
[8 empty] | 46 | 29.747 | 29.748 | 29.748 | 29.748 | 29.748 | 29.748 | 0.0004 | -0.004 | 29.752
[8 empty] | 47 | 34.82 | 34.82 | 34.821 | 34.821 | 34.82 | 34.82 | 0.0004899 | -0.004 | 34.824
[8 empty] | 48 | 34.668 | 34.669 | 34.669 | 34.669 | 34.669 | 34.669 | 0.0004 | -0.004 | 34.673
[8 empty] | STD | 34.991 | 34.99 | 34.99 | 34.99 | 34.99 | 34.99 | 0.0004 | -0.004 | 34.994
| 20.01.2023 | Marcel | 24.2 | 25 | 34.994 | 0.99986 | 70177 | STD | 34.99 | 34.99 | 34.99 |  |  | 34.99 | 0 | -0.004 | 34.994
[8 empty] | 49 | 34.173 | 34.173 | 34.173 |  |  | 34.173 | 0 | -0.004 | 34.177
[8 empty] | 50 | 33.285 | 33.285 | 33.285 |  |  | 33.285 | 0 | -0.004 | 33.289
[8 empty] | 51 | 32.429 | 32.429 | 32.43 | 32.429 | 32.429 | 32.429 | 0.0004 | -0.004 | 32.433
[8 empty] | 52 | 31.862 | 31.862 | 31.862 |  |  | 31.862 | 0 | -0.004 | 31.866
[8 empty] | 53 | 31.033 | 31.033 | 31.034 | 31.034 | 31.033 | 31.033 | 0.0004899 | -0.004 | 31.037
[8 empty] | 54 | 30.45 | 30.451 | 30.451 | 30.45 | 30.45 | 30.45 | 0.0004899 | -0.004 | 30.454
[8 empty] | 55 | 30.413 | 30.413 | 30.413 |  |  | 30.413 | 0 | -0.004 | 30.417
[8 empty] | 56 | 34.513 | 34.513 | 34.514 | 34.514 | 34.514 | 34.514 | 0.0004899 | -0.004 | 34.518
[8 empty] | 57 | 34.396 | 34.396 | 34.396 |  |  | 34.396 | 0 | -0.004 | 34.4
[8 empty] | 58 | 33.872 | 33.872 | 33.872 |  |  | 33.872 | 0 | -0.004 | 33.876
[8 empty] | 59 | 32.172 | 32.172 | 32.172 |  |  | 32.172 | 0 | -0.004 | 32.176
[8 empty] | 60 | 31.845 | 31.845 | 31.845 |  |  | 31.845 | 0 | -0.004 | 31.849
[8 empty] | 61 | 31.723 | 31.724 | 31.724 | 31.724 | 31.724 | 31.724 | 0.0004 | -0.004 | 31.728
[8 empty] | 62 | 31.439 | 31.438 | 31.438 | 31.438 | 31.438 | 31.438 | 0.0004 | -0.004 | 31.442
[8 empty] | 63 | 30.949 | 30.949 | 30.949 |  |  | 30.949 | 0 | -0.004 | 30.953
[8 empty] | 64 | 30.056 | 30.056 | 30.055 | 30.056 | 30.055 | 30.056 | 0.0004899 | -0.004 | 30.06
[8 empty] | 65 | 34.234 | 34.234 | 34.235 | 34.235 | 34.235 | 34.235 | 0.0004899 | -0.004 | 34.239
[8 empty] | 66 | 34.065 | 34.065 | 34.066 | 34.066 | 34.066 | 34.066 | 0.0004899 | -0.004 | 34.07
[8 empty] | 67 | 32.45 | 32.451 | 32.451 | 32.451 | 32.451 | 32.451 | 0.0004 | -0.004 | 32.455
[8 empty] | 68 | 31.921 | 31.921 | 31.921 |  |  | 31.921 | 3.5527e-15 | -0.004 | 31.925
[8 empty] | 69 | 31.741 | 31.741 | 31.741 |  |  | 31.741 | 0 | -0.004 | 31.745
[8 empty] | 70 | 31.493 | 31.493 | 31.493 |  |  | 31.493 | 0 | -0.004 | 31.497
[8 empty] | 71 | 31.227 | 31.229 | 31.228 | 31.228 | 31.228 | 31.228 | 0.00063246 | -0.004 | 31.232
[8 empty] | 72 | 30.477 | 30.477 | 30.476 | 30.477 | 30.477 | 30.477 | 0.0004 | -0.004 | 30.481
[8 empty] | STD | 34.99 | 34.99 | 34.99 |  |  | 34.99 | 0 | -0.004 | 34.994
| 23.01.2023 | Marcel | 24.2 | 26 | 34.994 | 0.99986 | 70177 | STD | 34.991 | 34.991 | 34.991 |  |  | 34.991 | 0 | -0.003 | 34.994
[8 empty] | 73 | 34.855 | 34.854 | 34.854 | 34.854 | 34.855 | 34.854 | 0.0004899 | -0.003 | 34.857
[8 empty] | 74 | 34.85 | 34.85 | 34.85 |  |  | 34.85 | 0 | -0.003 | 34.853
[8 empty] | 75 | 34.758 | 34.759 | 34.76 | 34.76 | 34.759 | 34.759 | 0.00074833 | -0.003 | 34.762
[8 empty] | 76 | 34.301 | 34.301 | 34.301 |  |  | 34.301 | 0 | -0.003 | 34.304
[8 empty] | 77 | 33.242 | 33.242 | 33.242 |  |  | 33.242 | 0 | -0.003 | 33.245
[8 empty] | 78 | 32.379 | 32.379 | 32.379 |  |  | 32.379 | 0 | -0.003 | 32.382
[8 empty] | 79 | 31.863 | 31.863 | 31.863 |  |  | 31.863 | 0 | -0.003 | 31.866
[8 empty] | 80 | 31.504 | 31.504 | 31.504 |  |  | 31.504 | 0 | -0.003 | 31.507
[8 empty] | 81 | 30.604 | 30.604 | 30.603 | 30.604 | 30.604 | 30.604 | 0.0004 | -0.003 | 30.607
[8 empty] | 82 | 30.183 | 30.183 | 30.183 |  |  | 30.183 | 3.5527e-15 | -0.003 | 30.186
[8 empty] | 83 | 34.854 | 34.855 | 34.855 | 34.855 | 34.855 | 34.855 | 0.0004 | -0.003 | 34.858
[8 empty] | 84 | 34.832 | 34.832 | 34.832 |  |  | 34.832 | 0 | -0.003 | 34.835
[8 empty] | 85 | 34.732 | 34.732 | 34.732 |  |  | 34.732 | 0 | -0.003 | 34.735
[8 empty] | 86 | 34.33 | 34.331 | 34.331 | 34.331 | 34.331 | 34.331 | 0.0004 | -0.003 | 34.334
[8 empty] | 87 | 33.641 | 33.642 | 33.642 | 33.642 | 33.641 | 33.642 | 0.0004899 | -0.003 | 33.645
[8 empty] | 88 | 32.861 | 32.861 | 32.861 |  |  | 32.861 | 0 | -0.003 | 32.864
[8 empty] | 89 | 31.843 | 31.844 | 31.844 | 31.844 | 31.844 | 31.844 | 0.0004 | -0.003 | 31.847
[8 empty] | 90 | 30.913 | 30.913 | 30.913 |  |  | 30.913 | 0 | -0.003 | 30.916
[8 empty] | 91 | 30.12 | 30.119 | 30.12 | 30.12 | 30.12 | 30.12 | 0.0004 | -0.003 | 30.123
[8 empty] | 92 | 29.471 | 29.471 | 29.471 |  |  | 29.471 | 0 | -0.003 | 29.474
[8 empty] | 93 | 34.883 | 34.883 | 34.883 |  |  | 34.883 | 0 | -0.003 | 34.886
[8 empty] | 94 | 34.858 | 34.858 | 34.858 |  |  | 34.858 | 0 | -0.003 | 34.861
[8 empty] | 95 | 34.782 | 34.782 | 34.782 |  |  | 34.782 | 0 | -0.003 | 34.785
[8 empty] | 96 | 34.697 | 34.697 | 34.697 |  |  | 34.697 | 0 | -0.003 | 34.7
[8 empty] | Standard | 34.991 | 34.991 | 34.991 |  |  | 34.991 | 0 | -0.003 | 34.994
| 24.01.2023 | Marcel | 24.7 | 26 | 34.994 | 0.99986 | 70177 | Standard | 34.99 | 34.99 | 34.99 |  |  | 34.99 | 0 | -0.004 | 34.994
[8 empty] | 97 | 34.466 | 34.466 | 34.466 |  |  | 34.466 | 0 | -0.004 | 34.47
[8 empty] | 98 | 34.004 | 34.005 | 34.005 | 34.005 | 34.005 | 34.005 | 0.0004 | -0.004 | 34.009
[8 empty] | 99 | 33.094 | 33.094 | 33.094 |  |  | 33.094 | 0 | -0.004 | 33.098
[8 empty] | 100 | 32.021 | 32.021 | 32.022 | 32.022 | 32.022 | 32.022 | 0.0004899 | -0.004 | 32.026
[8 empty] | 101 | 30.877 | 30.876 | 30.877 | 30.877 | 30.877 | 30.877 | 0.0004 | -0.004 | 30.881
[8 empty] | 102 | 29.348 | 29.348 | 29.348 |  |  | 29.348 | 0 | -0.004 | 29.352
[8 empty] | 103 | 29.252 | 29.252 | 29.252 |  |  | 29.252 | 0 | -0.004 | 29.256
[8 empty] | 104 | 34.375 | 34.375 | 34.375 |  |  | 34.375 | 0 | -0.004 | 34.379
[8 empty] | 105 | 34.1 | 34.099 | 34.099 | 34.098 | 34.098 | 34.099 | 0.00074833 | -0.004 | 34.103
[8 empty] | 106 | 32.855 | 32.856 | 32.857 | 32.855 | 32.857 | 32.856 | 0.00089443 | -0.004 | 32.86
[8 empty] | 107 | 31.896 | 31.896 | 31.896 |  |  | 31.896 | 0 | -0.004 | 31.9
[8 empty] | 108 | 31.746 | 31.746 | 31.746 |  |  | 31.746 | 0 | -0.004 | 31.75
[8 empty] | 109 | 31.606 | 31.607 | 31.607 | 31.607 | 31.607 | 31.607 | 0.0004 | -0.004 | 31.611
[8 empty] | 110 | 31.44 | 31.441 | 31.441 | 31.441 | 31.441 | 31.441 | 0.0004 | -0.004 | 31.445
[8 empty] | 111 | 30.382 | 30.382 | 30.382 |  |  | 30.382 | 0 | -0.004 | 30.386
[8 empty] | 112 | 34.537 | 34.537 | 34.537 |  |  | 34.537 | 0 | -0.004 | 34.541
[8 empty] | 113 | 34.444 | 34.444 | 34.444 |  |  | 34.444 | 0 | -0.004 | 34.448
[8 empty] | 114 | 33.961 | 33.961 | 33.961 |  |  | 33.961 | 0 | -0.004 | 33.965
[8 empty] | 115 | 32.47 | 32.471 | 32.47 | 32.47 | 32.471 | 32.47 | 0.0004899 | -0.004 | 32.474
[8 empty] | 116 | 31.915 | 31.915 | 31.915 |  |  | 31.915 | 3.5527e-15 | -0.004 | 31.919
[8 empty] | 117 | 31.771 | 31.771 | 31.771 |  |  | 31.771 | 0 | -0.004 | 31.775
[8 empty] | 118 | 31.446 | 31.446 | 31.446 |  |  | 31.446 | 0 | -0.004 | 31.45
[8 empty] | 119 | 30.568 | 30.568 | 30.568 |  |  | 30.568 | 0 | -0.004 | 30.572
[8 empty] | 120 | 30.352 | 30.352 | 30.352 |  |  | 30.352 | 0 | -0.004 | 30.356
[8 empty] | Standard | 34.991 | 34.991 | 34.991 |  |  | 34.991 | 0 | -0.004 | 34.995
| 19.04.2023 | Paul D | 24 | 25 | 34.994 | 0.99986 | 70177 | Standard | 34.986 | 34.986 | 34.986 | 34.986 |  | 34.986 | 0 | -0.008 | 34.994
[8 empty] | 121 | 34.53 | 34.528 | 34.529 | 34.53 |  | 34.5295 | 0.00082916 | -0.008 | 34.5375
[8 empty] | 122 | 34.447 | 34.448 |  |  |  | 34.4475 | 0.0005 | -0.008 | 34.4555
[8 empty] | 123 | 33.741 | 33.741 |  |  |  | 33.741 | 0 | -0.008 | 33.749
[8 empty] | 124 | 32.035 | 32.035 |  |  |  | 32.035 | 0 | -0.008 | 32.043
[8 empty] | 125 | 31.805 | 31.806 |  |  |  | 31.8055 | 0.0005 | -0.008 | 31.8135
[8 empty] | 126 | 31.701 | 31.701 |  |  |  | 31.701 | 0 | -0.008 | 31.709
[8 empty] | 127 | 31.499 | 31.498 |  |  |  | 31.4985 | 0.0005 | -0.008 | 31.5065
[8 empty] | 128 | 31.171 | 31.171 |  |  |  | 31.171 | 0 | -0.008 | 31.179
[8 empty] | 129 | 29.5 | 29.5 |  |  |  | 29.5 | 0 | -0.008 | 29.508
[8 empty] | 130 | 34.674 | 34.674 |  |  |  | 34.674 | 0 | -0.008 | 34.682
[8 empty] | 131 | 34.513 | 34.513 |  |  |  | 34.513 | 0 | -0.008 | 34.521
[8 empty] | 132 | 33.674 | 33.674 |  |  |  | 33.674 | 0 | -0.008 | 33.682
[8 empty] | 133 | 32.026 | 32.026 |  |  |  | 32.026 | 0 | -0.008 | 32.034
[8 empty] | 134 | 31.828 | 31.828 |  |  |  | 31.828 | 0 | -0.008 | 31.836
[8 empty] | 135 | 31.736 | 31.736 |  |  |  | 31.736 | 0 | -0.008 | 31.744
[8 empty] | 136 | 31.526 | 31.525 |  |  |  | 31.5255 | 0.0005 | -0.008 | 31.5335
[8 empty] | 137 | 31.104 | 31.104 |  |  |  | 31.104 | 0 | -0.008 | 31.112
[8 empty] | 138 | 29.799 | 29.799 |  |  |  | 29.799 | 0 | -0.008 | 29.807
[8 empty] | 139 | 34.849 | 34.85 |  |  |  | 34.8495 | 0.0005 | -0.008 | 34.8575
[8 empty] | 140 | 34.843 | 34.842 |  |  |  | 34.8425 | 0.0005 | -0.008 | 34.8505
[8 empty] | 141 | 34.723 | 34.723 |  |  |  | 34.723 | 0 | -0.008 | 34.731
[8 empty] | 142 | 34.298 | 34.298 |  |  |  | 34.298 | 0 | -0.008 | 34.306
[8 empty] | 143 | 33.279 | 33.279 |  |  |  | 33.279 | 0 | -0.008 | 33.287
[8 empty] | 144 | 32.156 | 32.156 |  |  |  | 32.156 | 0 | -0.008 | 32.164
[8 empty] | Standard | 34.986 | 34.986 | 34.987 | 34.986 |  | 34.986 | 0.00043301 | -0.008 | 34.994
| 19.04.2023 | Paul D | 24 | 25 | 34.994 | 0.99986 | 70177 | Standard | 34.986 | 34.986 | 34.987 | 34.986 |  | 34.986 | 0.00043301 | -0.008 | 34.994
[8 empty] | 145 | 31.728 | 31.727 |  |  |  | 31.7275 | 0.0005 | -0.008 | 31.7355
[8 empty] | 146 | 31.426 | 31.426 |  |  |  | 31.426 | 0 | -0.008 | 31.434
[8 empty] | 147 | 30.8 | 30.8 |  |  |  | 30.8 | 0 | -0.008 | 30.808
[8 empty] | 148 | 30.022 | 30.022 |  |  |  | 30.022 | 0 | -0.008 | 30.03
[8 empty] | 149 | 34.908 | 34.908 |  |  |  | 34.908 | 0 | -0.008 | 34.916
[8 empty] | 150 | 34.878 | 34.878 |  |  |  | 34.878 | 0 | -0.008 | 34.886
[8 empty] | 151 | 34.829 | 34.829 |  |  |  | 34.829 | 0 | -0.008 | 34.837
[8 empty] | 152 | 34.719 | 34.719 |  |  |  | 34.719 | 0 | -0.008 | 34.727
[8 empty] | 153 | 34.435 | 34.435 |  |  |  | 34.435 | 0 | -0.008 | 34.443
[8 empty] | 154 | 33.905 | 33.906 |  |  |  | 33.9055 | 0.0005 | -0.008 | 33.9135
[8 empty] | 155 | 33.076 | 33.076 |  |  |  | 33.076 | 0 | -0.008 | 33.084
[8 empty] | 156 | 32.08 | 32.081 |  |  |  | 32.0805 | 0.0005 | -0.008 | 32.0885
[8 empty] | 157 | 30.615 | 30.616 |  |  |  | 30.6155 | 0.0005 | -0.008 | 30.6235
[8 empty] | 158 | 30.057 | 30.057 |  |  |  | 30.057 | 0 | -0.008 | 30.065
[8 empty] | 159 | 29.975 | 29.975 |  |  |  | 29.975 | 0 | -0.008 | 29.983
[8 empty] | 160 | 34.915 | 34.915 |  |  |  | 34.915 | 0 | -0.008 | 34.923
[8 empty] | 161 | 34.837 | 34.837 |  |  |  | 34.837 | 0 | -0.008 | 34.845
[8 empty] | 162 | 34.951 | 34.951 |  |  |  | 34.951 | 0 | -0.008 | 34.959
[8 empty] | 163 | 34.779 | 34.778 |  |  |  | 34.7785 | 0.0005 | -0.008 | 34.7865
[8 empty] | 164 | 34.767 | 34.767 |  |  |  | 34.767 | 0 | -0.008 | 34.775
[8 empty] | 165 | 34.188 | 34.187 |  |  |  | 34.1875 | 0.0005 | -0.008 | 34.1955
[8 empty] | 166 | 33.246 | 33.246 |  |  |  | 33.246 | 0 | -0.008 | 33.254
[8 empty] | 167 | 32.374 | 32.374 |  |  |  | 32.374 | 0 | -0.008 | 32.382
[8 empty] | 168 | 32.378 | 32.378 |  |  |  | 32.378 | 0 | -0.008 | 32.386
[8 empty] | Standard | 34.986 | 34.986 | 34.987 | 34.986 | 34.986 | 34.986 | 0.0004 | -0.008 | 34.994
| 19.04.2023 | Paul D | 24 | 25 | 34.994 | 0.99986 | 70177 | Standard | 34.986 | 34.986 | 34.987 | 34.986 | 34.986 | 34.986 | 0.0004 | -0.007 | 34.993
[8 empty] | 169 | 30.094 | 30.093 |  |  |  | 30.0935 | 0.0005 | -0.007 | 30.1005
[8 empty] | 170 | 29.868 | 29.868 |  |  |  | 29.868 | 0 | -0.007 | 29.875
[8 empty] | 171 | 34.914 | 34.915 |  |  |  | 34.9145 | 0.0005 | -0.007 | 34.9215
[8 empty] | 172 | 34.875 | 34.875 |  |  |  | 34.875 | 0 | -0.007 | 34.882
[8 empty] | 173 | 34.865 | 34.865 |  |  |  | 34.865 | 0 | -0.007 | 34.872
[8 empty] | 174 | 34.862 | 34.862 |  |  |  | 34.862 | 0 | -0.007 | 34.869
[8 empty] | 175 | 34.75 | 34.75 |  |  |  | 34.75 | 0 | -0.007 | 34.757
[8 empty] | 176 | 34.325 | 34.326 |  |  |  | 34.3255 | 0.0005 | -0.007 | 34.3325
[8 empty] | 177 | 33.842 | 33.842 |  |  |  | 33.842 | 0 | -0.007 | 33.849
[8 empty] | 178 | 32.65 | 32.651 |  |  |  | 32.6505 | 0.0005 | -0.007 | 32.6575
[8 empty] | 179 | 31.224 | 31.222 |  |  |  | 31.223 | 0.001 | -0.007 | 31.23
[8 empty] | 180 | 30.341 | 30.341 |  |  |  | 30.341 | 0 | -0.007 | 30.348
[8 empty] | 181 | 30.013 | 30.013 |  |  |  | 30.013 | 0 | -0.007 | 30.02
[8 empty] | 182 | 34.92 | 34.921 |  |  |  | 34.9205 | 0.0005 | -0.007 | 34.9275
[8 empty] | 183 | 34.958 | 34.958 |  |  |  | 34.958 | 0 | -0.007 | 34.965
[8 empty] | 184 | 34.989 | 34.989 |  |  |  | 34.989 | 0 | -0.007 | 34.996
[8 empty] | 185 | 34.97 | 34.97 |  |  |  | 34.97 | 0 | -0.007 | 34.977
[8 empty] | 186 | 34.895 | 34.896 |  |  |  | 34.8955 | 0.0005 | -0.007 | 34.9025
[8 empty] | 187 | 34.739 | 34.738 |  |  |  | 34.7385 | 0.0005 | -0.007 | 34.7455
[8 empty] | 188 | 34.283 | 34.281 | 34.282 |  |  | 34.282 | 0.0008165 | -0.007 | 34.289
[8 empty] | 189 | 34.123 | 34.123 |  |  |  | 34.123 | 0 | -0.007 | 34.13
[8 empty] | 190 | 32.819 | 32.819 |  |  |  | 32.819 | 0 | -0.007 | 32.826
[8 empty] | 191 | 30.801 | 30.801 |  |  |  | 30.801 | 0 | -0.007 | 30.808
[8 empty] | 192 | 30.335 | 30.335 |  |  |  | 30.335 | 0 | -0.007 | 30.342
[8 empty] | Standard | 34.986 | 34.986 | 34.987 | 34.987 | 34.987 | 34.987 | 0.0004899 | -0.007 | 34.994
| 19.04.2023 | Paul D | 24 | 25 | 34.994 | 0.99986 | 70177 | Standard | 34.986 | 34.986 | 34.987 | 34.987 | 34.987 | 34.987 | 0.0004899 | -0.007 | 34.994
[8 empty] | 193 | 34.922 | 34.922 |  |  |  | 34.922 | 0 | -0.007 | 34.929
[8 empty] | 194 | 34.911 | 34.91 |  |  |  | 34.9105 | 0.0005 | -0.007 | 34.9175
[8 empty] | 195 | 34.91 | 34.91 |  |  |  | 34.91 | 0 | -0.007 | 34.917
[8 empty] | 196 | 34.908 | 34.908 |  |  |  | 34.908 | 0 | -0.007 | 34.915
[8 empty] | 197 | 34.908 | 34.908 |  |  |  | 34.908 | 0 | -0.007 | 34.915
[8 empty] | 198 | 34.908 | 34.908 |  |  |  | 34.908 | 0 | -0.007 | 34.915
[8 empty] | 199 | 34.903 | 34.904 |  |  |  | 34.9035 | 0.0005 | -0.007 | 34.9105
[8 empty] | 200 | 34.903 | 34.903 |  |  |  | 34.903 | 0 | -0.007 | 34.91
[8 empty] | 201 | 34.899 | 34.9 |  |  |  | 34.8995 | 0.0005 | -0.007 | 34.9065
[8 empty] | 202 | 34.899 | 34.899 |  |  |  | 34.899 | 0 | -0.007 | 34.906
[8 empty] | 203 | 34.921 | 34.921 |  |  |  | 34.921 | 0 | -0.007 | 34.928
[8 empty] | 204 | 34.917 | 34.917 |  |  |  | 34.917 | 0 | -0.007 | 34.924
[8 empty] | 205 | 34.972 | 34.972 |  |  |  | 34.972 | 0 | -0.007 | 34.979
[8 empty] | 206 | 34.963 | 34.963 |  |  |  | 34.963 | 0 | -0.007 | 34.97
[8 empty] | 207 | 34.992 | 34.992 |  |  |  | 34.992 | 0 | -0.007 | 34.999
[8 empty] | 208 | 35.029 | 35.029 |  |  |  | 35.029 | 0 | -0.007 | 35.036
[8 empty] | 209 | 35.032 | 35.032 |  |  |  | 35.032 | 0 | -0.007 | 35.039
[8 empty] | 210 | 35 | 35 | 34.999 | 35 |  | 35 | 0.00043301 | -0.007 | 35.007
[8 empty] | 211 | 34.467 | 34.467 |  |  |  | 34.467 | 0 | -0.007 | 34.474
[8 empty] | 212 | 33.645 | 33.645 |  |  |  | 33.645 | 0 | -0.007 | 33.652
[8 empty] | 213 | 32.467 | 32.467 |  |  |  | 32.467 | 0 | -0.007 | 32.474
[8 empty] | 214 | 32.166 | 32.166 |  |  |  | 32.166 | 0 | -0.007 | 32.173
[8 empty] | 215 | 34.904 | 34.903 | 34.904 |  |  | 34.904 | 0.0004714 | -0.007 | 34.911
[8 empty] | 216 | 35.01 | 35.009 | 35.009 |  |  | 35.009 | 0.0004714 | -0.007 | 35.016
[8 empty] | Standard | 34.987 | 34.987 | 34.987 | 34.987 |  | 34.987 | 0 | -0.007 | 34.994
| 19.04.2023 | Paul D | 24 | 25 | 34.994 | 0.99986 | 70177 | Standard | 34.987 | 34.987 | 34.987 | 34.987 |  | 34.987 | 0 | -0.007 | 34.994
[8 empty] | 217 | 35.036 | 35.0367 |  |  |  | 35.0363 | 0.00035 | -0.007 | 35.0433
[8 empty] | 218 | 35.041 | 35.041 |  |  |  | 35.041 | 0 | -0.007 | 35.048
[8 empty] | 219 | 35.04 | 35.04 |  |  |  | 35.04 | 0 | -0.007 | 35.047
[8 empty] | 220 | 35.048 | 35.048 |  |  |  | 35.048 | 0 | -0.007 | 35.055
[8 empty] | 221 | 34.992 | 34.992 |  |  |  | 34.992 | 0 | -0.007 | 34.999
[8 empty] | 222 | 34.869 | 34.869 |  |  |  | 34.869 | 0 | -0.007 | 34.876
[8 empty] | 223 | 34.786 | 34.786 |  |  |  | 34.786 | 0 | -0.007 | 34.793
[8 empty] | 224 | 34.731 | 34.731 |  |  |  | 34.731 | 0 | -0.007 | 34.738
[8 empty] | 225 | 34.663 | 34.663 |  |  |  | 34.663 | 0 | -0.007 | 34.67
[8 empty] | Standard | 34.987 | 34.987 | 34.987 | 34.987 |  | 34.987 | 0 | -0.007 | 34.994